## A
| CAPITAL IMPROVEMENT |  | (Other Category - Capital Improvement, provide Specific Detail for Items Requested)
|  | FUND/DEPT # | FUND / DEPTARTMENT DESCRIPTION
| FUND # and NAME: | 510 | Water Revenue Fund |  |  |  |  | Round Request to
| DEPT# and NAME: | 6200 | Water Treatment Plant Operations |  |  |  |  | Nearest $10
|  | FUND # | DEPARTMENT # | ACCOUNT # | ACCOUNT DESCRIPTION
2014
| ACCT# and NAME: | 510 | 6200 | 57200 | Buildings & Improvements |  |  | $ REQUESTED
1 - | Items Listed Below to Show Immediate Priority Needs for the Water System if New Plant Not Buildt!
2 - | Totals NOT LISTED in 2014 Budget at this time. May be needed in Emergency Situations!
3 - | REPLACEMENT OF LIME SLAKERS, A VERY IMPORTANT PART OF OUR WATER
4 - | PLANT THAT NEED TO GO NOW. |  |  | There are Two slakers. |  |  |  | 300000
5 -
6 - | REBUILD OF THE RAPID SAND FILTERS TO MEET THE LT2 RULE THAT THE EPA IS | [6 empty] | 477000
7 - | REQUIRING TO BE COMPLETED BY 2014. This is costly but has reduced the over all
8 - | rebuild cost of the plant rebuild |  | significantly.Estimated cost by Jones and Henry Firm,
9 - | that was submitted in the plan to EPA.
10 -
11 - | The feeders in the plant need changed out now, they have long out lived their expected life. | [6 empty] | 60000
12 - | life. Carbon, Flouride, KMNO4. Can no longer get replacement parts.
13 -
14 - | Rehab of 750,000 gallon water tower | [6 empty] | 600000
15 -
16 - | Rebuild of two rotary valves to high service pumps. The current valves are leaking back | [6 empty] | 40000
17 - | into the plant. There are four total, but two are leaking back badly. Estimated at
18 - | $20,000.00 Each
19 -
20 -
|  |  | Prior Years History-> | 2011 ACTUAL | 2012 ACTUAL | 2013 BUDGETED | 2013 PROJECTED | =============
| 510.6200.57200 |  | TOTALS --> | 13065 | 95745 | 0 | 0 | 1477000
FORWARD TOTAL TO SUMMARY SHEET